|  |  |
| --- | --- |
| **Section** | **Details – for imaging lens** |

|  |  |  |
| --- | --- | --- |
| **Parameter** | **Notes** | **Provided by customer (below are examples for reference)** |
| Construction | Number of lenses: for example 1G (1 glass)  | 1G |
| Wavelength |  | 830nm |
| Object Distance | If not provided, we will design it to be ∞ | 500mm |
| Effect Focal Length (EFL) |  | 1.93mm |
| F number |  | 2 |
| Aperture |  | 1 mm |
| Flange Back Length (FB) |  | 2.81mm |
| Total Track Length |  | 5.44mm |
| Sensor | Horizontal (um) |  | 0.83um |
| Vertical (um) | 1.1um |
| Diagonal (um) | 1.365um |
| View Angle | Horizontal (deg) |  | 51deg |
| Vertical (deg) | 70deg |
| Diagonal (deg) | 90deg |
| MTF/Relative Illumination/others |  |
| Assembly error |  |  |
| Others | If there are other requirements, please specify |